## Slide 1
North Branch Reservoir
nbr_res_stor (storage)
nbr_res _withdr (withdrawal)
nbr_res _rel (release)
Prototype 1
Little Seneca Reservoir
seneca_res_storage
Seneca_res_release_spill
seneca_res _release_wq
seneca_res _release_ws
seneca_res_inflow_daily.csv
nbr_res_inflow_daily.csv
wma_demand_daily.csv
To represent flows from rest of Potomac watershed, use
lfalls_nat_daily.csv
potomac
lfalls gage
lag = 9 days
lag = 0 days
Key
Node
type = reservoir
Node
type = channel point
Stream channel
External inflow
External outflow
lfalls 9-day fc (from empirical algorithm used in PRRISM)
lfalls 0-day fc (ie known need at Little Falls)
The purpose of Prototype 1 is to practice simulating reservoir operations. The time step is daily. Lag times are constant. Demands are from a given time series. The forecast (fc) for the Seneca release is “perfect knowledge” of need.